Readme_bowhound

The bowhound system was an underway pCO2 system that was installed at the seachest. The prototype system used a low cost Li-COR Gas Hound and a Liqui Cell membrane extractor (“beer gasser”) which was used to equilibrate headspace and water. The unit was not temperature controlled and operated well under harsh conditions.

The Liquicell extractor was run at a slight overpressure (about 2 %). This pressure was not accurately measured and appears  the largest source of uncertainty in the analysis.

The system gathered data every two minutes and two gas standards were used for a (linear calibration). Standards were run every hour.  The first  sample after the standard reads low because of the flow configuration and is omitted

Columns

PC_DATE= date

PC_TIME = time

YEAR_DAY = Julian day from PC computer (applies to XCO2 values)

SHIP_JD= Julian day from ship SCS (applies to salinity and temperature values)

DecLat = latitude

DecLong= longitude

xCO2(27.3)bowhound= xCO2 normalized to 27.3 using a relationship of 4.23 % per degree

EQ_TEMP= temperature at the intake of the liquicell

AdjLin_xCO2= measured xCO2

SCS_T= thermosalinograph temperature

SCS_Sal = thermosalinograph salinity

Sys2.6xCO2 = XCO2 from system in main lab

Note there are no latitudes and longitude values for the last 1000 entries after the ship left the study area.